## Лист1
Chromatogram and Results
Injection Details
Injection Name: |  | Burlak u |  |  | Run Time (min): | 40
Vial Number: |  | BC3 |  |  | Injection Volume: | 1
Injection Type: |  | Unknown |  |  | Channel: | Emission_1
Calibration Level: |  |  |  |  | Wavelength: | 338
Instrument Method: |  | Amino_Acid |  |  | Bandwidth: | n.a.
Processing Method: |  | Agilent's AminoAcid |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 21.Ëþò.17 01:12 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | counts*min | counts | % | %
1 | Aspartic acid | 2.545 | 3266.69 | 39795.188 | 0.11 | 0.35 | 1.4697 | 1.4697
3 | Glutamic acid | 4.273 | 15570.204 | 70820.547 | 0.55 | 0.62 | 7.1605 | 7.1605
6 | Serine | 8.315 | 9724.116 | 55567.699 | 0.34 | 0.49 | 3.8026 | 3.8026
8 | Histidine | 10 | 210278.554 | 1089927.038 | 7.38 | 9.55 | 123.8756 | 123.8756
9 | Glycine | 10.453 | 497894.636 | 2668605.574 | 17.48 | 23.38 | 177.8013 | 177.8013
11 | Threonine | 11.092 | 11184.372 | 57136.024 | 0.39 | 0.5 | 4.2914 | 4.2914
12 | Citruline | 11.442 | 1838.897 | 11385.652 | 0.06 | 0.1 | 0.68817 | 0.68817
| Arginine |  | 0 |  |  |  | 0
15 | Taurine | 13.266 | 582388.86 | 1825410.785 | 20.45 | 15.99 | 188.2524 | 188.2524
| Alanine |  | 0 |  |  |  | 0
16 | Tyrosine | 15.346 | 37984.828 | 153340.247 | 1.33 | 1.34 | 14.4182 | 14.4182
18 | Cystine | 16.75 | 9936.261 | 61948.083 | 0.35 | 0.54 | 40.3149 | 40.3149
21 | Valine | 18.761 | 49819.055 | 188602.699 | 1.75 | 1.65 | 17.2048 | 17.2048
22 | Methionine | 19.137 | 273242.917 | 691971.21 | 9.59 | 6.06 | 90.9686 | 90.9686
24 | Phenylalanine | 21.434 | 35350.175 | 119313.789 | 1.24 | 1.05 | 12.68 | 12.68
n.a. | Isoleucine | n.a. | n.a. | n.a. | n.a. | n.a. | 0 | 0
25 | Leucine | 23.006 | 48232.277 | 81175.38 | 1.69 | 0.71 | 16.3427 | 16.3427
27 | Lysine | 23.454 | 4749.505 | 30975.508 | 0.17 | 0.27 | 5.0506 | 5.0506
n.a. | Proline | n.a. | n.a. | n.a. | n.a. | n.a. | 0 | 0
0
0
0
0
0
0
0
0
0
0
0